## Test1
Port Status |  |  |  |  | Plc Clock
Closed | [14 empty] | Dev ID | 1 |  | Plc's sometimes control Dangerous Machinery
Please make sure there is nothing connected
[13 empty] | IP Address |  |  |  | Port | to the outputs before testing this control.
[12 empty] | 192.168.1.102 |  |  |  |  | 9080
|  |  |  | Set Input 0 | [7 empty] | Set Input 1 |  |  | Tested with DEMO.PC6 plc program
(Output Sequencer)
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | [8 empty] | Reads Inputs, Outputs
[8 empty] | Output Status (Group 0) | [7 empty] | and Relays as Binary
or as Integer if prefered.
DM Area (1 to 4000)
[7 empty] | 1 | [8 empty] | 32767 to -32768
| Data to Write | [10 empty] | Data Returned
| 1234 |  |  |  | Can write + or - Integers | [6 empty] | 1234
LCD Display Strings
There are only 4 LCD Strings (1 to 4)
All other strings are A to Z
|  |  | Write Lcd String | [7 empty] | Location
|  | Testing 123 Testing | [8 empty] | 4
[13 empty] | 1 | =
[13 empty] | 2 | =
Location | [12 empty] | 3 | =
A | [8 empty] | Read 8 Analog |  |  |  | 4 | =
Data to Write | [9 empty] | Inputs |  |  | 5 | =
112233 | [12 empty] | 6 | =
[13 empty] | 7 | =
[13 empty] | 8 | =

## Description
1 | Place The TriPlc.dll in the Windows System32 File
2 | Then Pick References from the tools menu in VB editor
3 | Click Browse and select the TriPlc.dll then click ok.
|  | Members of The TriPlc dll | (in View and Object browser)

## ToDo
1 | Incorperate E-Prom Read Write
2 | Test with Multiple Plc's
3 | Incorperate Read Write Multiples