Section 1: Operating Procedure

1.	Introduction	1-1

2.	Programming	1-1

3. 	Simulation	1-2

4.	Downloading Ladder Logic Program	1-2

5.	Errors and Problems	1-3

6.	Monitoring PLC Operation	1-4

A. Capturing the I/O logic state	1-4

B. On-Line Monitoring  & Control	1-5

C. Ladder Monitoring	1-6

7.	Uploading Ladder Program from PLC	1-7

Section 2: Host Communication

1.	Point-to-point System	2-1

2. 	Multi-point Communication System	2-3

2.1  Networking with RS485	2-3

2.2  Command/Response Format	2-5

- Calculation of FCS	2-5

- FCS calculation program example	2-6

2.3  Communication Procedure	2-7

- Framing Errors	2-8

- Command Errors	2-8

- Sample Program	2-8

3. 	Using Network TRiLOGI	2-9

4. 	Troubleshooting RS485 Network	2-10

Section 3: Command/Response Format

1.	Device ID Read	3-1

2. 	Device ID Write	3-1

3.	Read All Inputs	3-2

4. 	Read Input Channels	3-3

5.	Read All Outputs	3-3

6.	Read Output Channels	3-4

7.	Read All Relays	3-4

8.	Read Relay Channels	3-5

9.	Read All Timer Contacts	3-6

10.	Read Timer Contacts	3-6

11.	Read All Counter Contacts	3-7

12.	Read Counter Contacts	3-7

13.	Read All Timer Present Values	3-8

14.	Read Timer Present Value	3-8

15.	Read All Counter Present Values	3-8

16.	Read Counter Present Values	3-9

17.	Write Inputs 	3-9

18.	Write Outputs	3-10

19.	Write Relay Channel	3-10

20.	Write Timer Present Value	3-10

21.	Write Counter Present Value	3-11

22.	Baud Rate Write	3-11

23. Baud Rate Read	3-12

24. Halt PLC Operation	3-12

25. Resume PLC Operation	3-13

26.	Host Communication Program Examples	3-13

27.	Applications of Host Communication Capabilities

i) 	Combining ladder logic program and host computer 	3-14

processing

ii)	Using the T20H as a remote 24V I/O interface	3-15

iii)	I/O sharing: host computer utilizing the I/Os not used by	3-15

ladder logic program